## Slide 1: NEW JERSEY’S OFFSHORE WIND RESOURCE
New Jersey Board of Public Utilities (NJBPU)
Hi-Res Weather Model
Spatial Validation Data
Wind Power Statistics
New Ocean Data
Innovative Sea Breeze Analyses
Tropical Cyclone Modeling
Rutgers Center for Ocean Observation Leadership (RU-COOL)
Rutgers Dept. of Marine and Coastal Sciences (DMCS)

## Slide 2: NJ Board of Public Utilities Wind Energy Modeling Reports
A high resolution wind model has been developed and validated for the NJ WEA.
The wind resource off of New Jersey is very conducive to energy development.
Wind is highly variable in space and time due to year round coastal storms and seabreeze’s during peak energy demand.
Key Findings:
Notes: Box around each

## Slide 3: Rutgers University Weather Research & Forecasting (RU-WRF) Model
What is the Weather Research Forecast (WRF) system: A numerical weather prediction (NWP) modeling framework based on full atmospheric physics and parametrizations used for both research and operational forecasts.
Community Supported Model
Many others Agencies and University Partners

## Slide 4: Rutgers University Weather Research & Forecasting (RU-WRF) Model
Triple nested: 9km-3km-1km
  9km: 0, 6, 12, 18Z cycles
  3km: 0, 12Z cycles
  1km: 12Z cycle (Research Mode)
Hourly forecast:
  9km: out 5 days
  3km: out 2 days
  1km: out 1 days (Research Mode)
Boundary Conditions:
  9km: 0.25 degree Global Forecast System
  3km: RU-WRF 9km
  1km: RU-WRF 3km (Research Mode)
Vertical Levels:
40 levels more tightly packed near the surface.
July 4th 2014 – Hurricane Arthur passage
Notes: High Resolution
Long-time period (5 years)
Sea

## Slide 5: Rutgers University Weather Research & Forecasting (RU-WRF) Model
Triple nested: 9km-3km-1km
  9km: 0, 6, 12, 18Z cycles
  3km: 0, 12Z cycles
  1km: 12Z cycle (Research Mode)
Hourly forecast:
  9km: out 5 days
  3km: out 2 days
  1km: out 1 days (Research Mode)
Boundary Conditions:
  9km: 0.25 degree Global Forecast System
  3km: RU-WRF 9km
  1km: RU-WRF 3km (Research Mode)
Vertical Levels:
40 levels more tightly packed near the surface.
July 4th 2014 – Hurricane Arthur passage
Notes: High Resolution
Long-time period (5 years)
Sea

## Slide 6: Rutgers University Weather Research & Forecasting (RU-WRF) Model
Triple nested: 9km-3km-1km
  9km: 0, 6, 12, 18Z cycles
  3km: 0, 12Z cycles
  1km: 12Z cycle (Research Mode)
Hourly forecast:
  9km: out 5 days
  3km: out 2 days
  1km: out 1 days (Research Mode)
Boundary Conditions:
  9km: 0.25 degree Global Forecast System
  3km: RU-WRF 9km
  1km: RU-WRF 3km (Research Mode)
Vertical Levels:
40 levels more tightly packed near the surface.
July 4th 2014 – Hurricane Arthur passage
Notes: High Resolution
Long-time period (5 years)
Sea

## Slide 7
Example:
Hurricane Irene
August 2011
BEFORE IRENE
AFTER IRENE
Rutgers SST
RU-WRF uses coldest pixel SST composite for bottom boundary conditions
  Web: http://rucool.marine.rutgers.edu/ruwrf-mesoscale-meteorological-model-forecast
NOAA RTG HR SST
NAM model

## Slide 8: RU-WRF 3km Validation Results
*Based on standard validation criteria for mesoscale atmospheric models (Pielke, 1984; Dvorak et al., 2012)
Period of Validation: May 2012-May 2013 (including Hurricane Sandy)

## Slide 9
Annual Mean Wind Speed (m/s)
Annual Mean Wind Power Density (W m-2)

## Slide 10
NJ WEA Potential Capacity >=3,000 MW
Motivation for OSW Program
Offshore wind (OSW) developers typically use annual average wind distribution + wind rose for “site suitability” and project planning
Modeling at >=20km grid spacing
Annual Average

## Slide 11
Wind Variability: Sea Breeze
14:00
17:00
20:00
23:00
September 12, 2012 10m Winds
June 19, 2014 100m Winds
Notes: Largest sources of variability during peak energy demand period during summer
Resolution of model is capable of resolving these processes – captures seabreeze, changes through time, not static
Two different cases
  Shows that there can be a north-south variability in seabreeze

## Slide 12
Wind Variability: Sea Breeze
Onshore 100m max blue convergence aligned with inland weather radar sea breeze front
Max red divergence propagates offshore
Seroka et al. in prep.
Notes: -Blue X for southern cross section, MD cross section?
Answer to vertical velocity:
Only using relative numbers of RD for paper (offshore extent (max); upwelling-non-upwelling)
WRF is consistent with continuity
2D LCS is not- assuming no vertical velocity, which is a valid assumption to make because vertical velocities are very small (100X smaller than horizontal velocities)

## Slide 13
Wind Variability: Tropical Cyclones
Sandy 2012
Irene 2011
Arthur 2014
Notes: Figure showing frequent storm tracks

## Slide 14
WHAT?
Satellite
SST
Post-Irene
Pre-Irene
Difference
WHY?
HF Radar
Currents
WHEN? Glider Temperature
Eye Passage
11C max Cooling

## Slide 15
Rutgers Atmospheric Forecast Sensitivity Study
Warm Ocean
Boundary Condition
Cold Ocean
Boundary Condition
IMPACT?
>10 knots reduction in peak wind speed
Cat 1 Hurricane
Tropical Storm
Notes: 76-94% cooling ahead-of-eye
Average = 84% cooling ahead-of-eye

## Slide 16
“Hypothetical” Wind Farm Production Data
Scenarios: 1100, 2000, 3000 MW; 8X10, 10X12, 10X15
Data: Hourly Net Capacity Factors, Hourly Power Production(KW), Total Annual Energy Produced (MWh) aggregated over the entire WTG array.
North Zone
South Zone
6 MW WTG

## Slide 17: Rutgers Offshore Wind integrated modeling platform
Atmospheric Models
Economic Models
Environmental Models
1. Hourly
Wind
Speeds
DMCS
2. Hourly
Wind
Turbine
Energy
Production
(MWh)
DMCS
3. PJM
Energy UC &
Dispatch
(Dayzer)
CEEEP
4. PJM
Capacity
Model
($/MW-day)
CEEEP
5. Wholesale
OSW
Electricity
Revenue
($/MWh)
CEEEP
6. Wholesale
OSW
Electricity
Cost
($/MWh)
CEEEP
-
7. OREC ∆
Cost
($/MWh)
CEEEP
8. NJ State
Economic
Impact
RECON
11. Market
Impacts
RECON
12. Net
Impacts
RECON & CEEEP
=
9. Reduced
Air Emissions including CO2 & GHGs - and related
Health Impacts
SEBS
10. Air Pollutants
Non-
Market
Impacts
SEBS
+
Electricity Market Model
NJ Macroeconomic Model
Specific OSW application

## Slide 18
Validation of the full 5+ year time-series by an independent entity.
Characterize interannual and event-scale variability in the WEA.
Quantify the impact of the above variability on economic and environmental models.
Future Opportunities

## Slide 20: NEW JERSEY’S OFFSHORE WIND RESOURCE
New Jersey Board of Public Utilities (NJBPU)
Hi-Res Weather Model
Spatial Validation Data
Wind Power Statistics
New Ocean Data
Innovative Sea Breeze Analyses
Tropical Cyclone Modeling
Rutgers Center for Ocean Observation Leadership (RU-COOL)
Rutgers Dept. of Marine and Coastal Sciences (DMCS)

## Slide 21: NJ Board of Public Utilities Wind Energy Modeling Reports
A high resolution wind model has been developed and validated for the NJ WEA.
The wind resource off of New Jersey is very conducive to energy development.
Wind is highly variable in space and time due to year round coastal storms and seabreeze’s during peak energy demand.
Key Findings:
Notes: Box around each

## Slide 22
Validation of the full 5+ year time-series by an independent entity.
Characterize interannual and event-scale variability in the WEA.
Quantify the impact of the above variability on economic and environmental models
Future Opportunities