## Slide 1: Evaluation of Three Antenna Pattern Measurements for a 25 MHz SeaSonde
Colin Evans, Hugh Roarty, Ethan Handel, Scott Glenn
Rutgers University, USA

## Slide 3: Quick Outline
Motivation for examination
Site overview
Description of antenna pattern calibration methods and processing
  New AIS-pattern generation software
Data Reprocessing
Results
Summary

## Slide 4: Motivation
Determine any significant differences in velocity measurements at the radial and total level between antenna pattern measurement methods.
Determine advantages and disadvantages between APM methods

## Slide 5: 25 MHz SILD System Setup
(inside the enclosure)
computer essentials
transmitter
receiver
Data backup
AIS antenna
UPS system
AIS receiver
combine tx/rx antenna
shed with climate-controlled enclosure

## Slide 6: Examination Area and Overview of 25 MHz Network
Baseline from SILD to PORT is 176 degrees.
Bearing values are in SILD range cell 9 (8.998km offshore).
Bearing values 102,132,and 167 are in PORT range cells 12, 8, and 4, respectfully.

## Slide 7: Why Do We Measure Patterns?
Corrects for distortions in the magnetic field
Corrects for bearing errors
  … which, in turn, corrects for velocity errors
More accurate than assuming ideal pattern
More can be read about antenna pattern measurements on CODAR support page:
http:support.codar.comTechnicians_Information_Page_for_SeaSondes/Training_Files/Day2_PatternMeasurements_2014.pdf

## Slide 8: Pattern Methods
Walking
AIS
Boat
~35 m
- 25 MHz system = ~12 m wavelength
- Rule of thumb suggested by CODAR is to be more than 1 wavelength away from the antenna (and other objects) during pattern calibration

## Slide 9: AIS Pattern Generation Software – More Detailed
Two important launch agents:
  AIS Logger
  AIS Webserver
Trak files created every 10 minutes
Loop files created daily
http://sprk-maracoos.dyndns.org:8241

## Slide 10: Processing the Patterns
Walking and Boat filtering
AIS filtering

## Slide 11: Pattern Results
Walking – 10o smooth
Boat – 10o smooth
AIS – 12o smooth

## Slide 12: Pattern Amplitudes
Walking
red dashed = ideal L1
blue dashed = ideal L2
red solid = measured L1
blue solid = measured L2
Boat
AIS

## Slide 13: Data Reprocessing
Spectra files reprocessed with batch reprocessing application built by CODAR
CSS files
Inputs
Analyze Spectra
Radial Configs
Walking APM
Boat APM
AIS APM
Radials
Radial Shorts
Wave data
Outputs

## Slide 14
Walking
Boat
AIS software
Pattern Method | Date
Walking | August 26, 2014
Boat | August 28, 2014
AIS | August 20, 2014

## Slide 15: Hourly Velocity Comparisons
Black – Ideal
Blue – Walking
Red – Boat
Light Blue - AIS

## Slide 16: Correlation between SILD Measured and Ideal Radials
Bearing | Walking | Boat | AIS
102 | 0.96 | 0.90 | 0.89
132 | 0.90 | 0.92 | 0.91
167 | 0.73 | -0.14 | 0.70
R Values

## Slide 17: Total Comparisons
Walking
Boat
AIS
2014-10-16 12:00:00

## Slide 18: Total Comparisons
2014-10-16 13:00:00
Walking
Boat
AIS

## Slide 19: Total Comparisons
2014-10-16 14:00:00
Walking
Boat
AIS

## Slide 20: Total Comparisons
2014-10-16 15:00:00
Walking
Boat
AIS

## Slide 21: Total Comparisons
2014-10-16 16:00:00
Walking
Boat
AIS

## Slide 22: Total Comparisons
2014-10-16 17:00:00
Walking
Boat
AIS

## Slide 23: Summary/Review
We found little variation between calibration methods at bearings 102 and 132 on the radial and total level
Decline in correlation at bearing 167
We can rely on several APM methods is one is not possible
Currently in the process of installing a 3rd 25 MHz NYH site to improve baseline currents