## Slide 1
MANY MANY MANY TEAMS OF PEOPLE!!!
Quality Data Delivery through an Integrated Ocean Observing System

## Slide 2
Takeaways:
You are not in charge of the data acquisition
So much data out there
Trust, but verify!

## Slide 3: NOAA-led U.S. Integrated Ocean Observing System (IOOS)
Vessels -
Satellite
Satellite
Ships/ Vessels
REMUS
Modeling
Leadership
CODAR
Glider
Data Vis.
Security
Education
Global Component
National Component
Regional Component
17 U.S. Federal Agencies
11 Regional Associations
15 Regional Alliances in GOOS
Notes: Going to give an example of QC using IOOS as there is high likelihood that there is data in an area of interest to you

## Slide 4
Integrated Observing and Prediction Networks
Satellites
HF-Radar
Gliders
Drifters
Buoys
Weather Stations
Ocean Forecast Ensemble

## Slide 5: MARACOOS Certification
MARACOOS’ ability to achieve and consistently maintain federal data quality standards led to its certification as a Regional Information Coordination Entity (RICE) in December 2016.
What does that all mean?
Assures users that MARACOOS data meet or exceed federal standards for quality
Ensures that the data collected and distributed by the RICE are managed according to the best practices, as identified by NOAA.
MARACOOS.org/certification
Names names (me specifically)

## Slide 6: MARACOOS Data Mgmt & Communication (DMAC)
The system includes:
management of in situ & remotely-sensed observation and model** data
data-model connections for comparison
data access services such as Thematic Real-time Environmental Distributed Data Services (THREDDS), Open-source Project for a Network Data Access Protocol (OPeNDAP)
common data formats such as NetCDF
delivery of data to operational users
**Note: models are not certified
Easy to acquire & track what QA/QC has been done
Notes: Meant to be easy to acquire and track what QA/QC has been done

## Slide 7
A good starting resource
Guidance for numerous instruments
https://ioos.noaa.gov/project/qartod/
POC: Mark Bushnell
QARTOD: A Good Start but not Comprehensive
Notes: Lots of resources, even that you could apply on your own data. There is guidance out there for anyone to use for numerous instruments

## Slide 8
QARTOD: Example Quality Flags
Notes: A common theme throughout the qartod is these flags

## Slide 9: Data

## Slide 10
There are MANY types. Today we are focusing on:
High Frequency Radar (HF Radar)
Ocean Gliders
Notes: So much out there but only a little time today

## Slide 11: HF-Radar

## Slide 12
National Surface Current Mapping
Notes: This data may be available to use and may be useful in your region

## Slide 13
HF-Radar: Radials vs Vectors
Radials Total Vectors

## Slide 14
From
QARTOD
Manual for
HF Radar
HF-Radar: QARTOD QC Tests
Notes: Location, syntax occur before any science qc Next slide shows location fail

## Slide 15
Green vectors are flagged by valid location (AngSeg) test.

## Slide 16
.
Level 0
HF Radar Data Real Time & Delayed Mode Flow Chart
Data levels defined by NASA Earth Science Reference Handbook ( 2006, p.31)
Level 1
Level 2
Level 3
Level 4
Quality Assurance
Manufacturer recommended Antenna Patterns not older than 1 year
Weekly 11-point remote site inspections
Physical site inspection every 6 months
Automated QARTOD
Test 1: SNR Ratio, Filter < 7dB
Test 6: Syntax, Filter
Test 7: Max Threshold, Filter > 150 cm/s (13/25 MHz) 300 cm/s (5 MHz)
Test 8: Radial Valid Location, Filter
Test 14: Data Density Threshold, Filter, At least 3 vectors from 2 separate stations
Test 15: GDOP, OI Uncertainty, Flag > 0.6 in U or V Velocity
Test 16: Max. Speed Threshold , Filter > 150 cm/s (13/25 MHz) 300 cm/s (5 MHz)
Human In The Loop
Visual inspection of first order line settings performance on capturing Bragg scatter
Analyze antenna amplitude and phase along with spectra SNR and noise floor to identify reprocessing intervals and reprocess
Visual inspection of hourly radial files
Identify radial gaps due to communication latency and fill
Analyze radial diagnostic plots (average radial bearing, radial coverage) to identify errors for reprocessing
Check to see that gaps are not introduced into the reprocessed data set
Visual inspection of hourly total files
Visual inspection of the reprocessed hourly total files
Notes: Qartod is a start, but it’s not comprehensive. Qartod is real time. Here we se much more that is performed post processing for publication ready science data.

## Slide 17
HFR QC: Real-time vs Delayed Mode Reprocessing
Reprocessed
Real Time
May 14, 2017
May 5, 2017
May 5, 2017
May 14, 2017
Remember: We are certified
Notes: Left column is qartod passed test. The right has the human in the loop fix

## Slide 18
National HF-Radar Network
All data are archived through the national network
Hfradar.ndbc.noaa.gov
Notes: Here is where codar data is located

## Slide 19: Underwater Gliders

## Slide 20: Gliders

## Slide 21
Monitoring Dissolved Oxygen Using Autonomous Gliders:
Notes: NJDEP started this process for us. You cannot get any $$ unless you sign a QAPP

## Slide 22
Autonomous Platforms:
Dissolved Oxygen
2011-2012
Quality Assurance Project Plan:
Glider Mission Planning
SeaBird CTD
Aanderra Optode 3835
Documents for pre- and
post- deployment glider, CTD and DO QA

## Slide 23: Glider Data QA/QC
EPA Quality Assurance Project Plan:
Glider Mission Planning
SeaBird CTD
Aanderra Optode 3835
Documents for pre- and
post- deployment glider, CTD and DO QA
QARTOD
Notes: We are now combining QAPP with QARTOD

## Slide 24
Was file received in reasonable amount of time compared to previous file?
Is file formatted correctly?
Did glider surface in reasonable location?
Is data within range the sensor can measure?
Does profile go continuously up or continuously down?
Is data reasonable for given region and season?
Is data point much higher/lower than surrounding points?
Does data increase/decrease too rapidly?
Is there too little (or no) variability in a series of data points (stuck sensor)?
Notes: Here are the tests translated to English

## Slide 25
Time
Depth
Temp
Climate Flag
Flat Line
Gross Range
ROC
Spike
Flags are added as new sensors in glider deployment matlab file (dbd group)
Notes: Here we are in the weeds of the file. 9 mean data is not there, 3 is suspect, 1 is good.

## Slide 26
Notes: Highlighted best spike example
The bottom 4 figures are actually 2 different profiles
If it’s inside the pink vertical lines, its ok, if its inside the red, is suspect, outside the red is bad

## Slide 27
Glider DAC Support
Users: Federal, State and local gov’t, public
Goals:
Consolidate all glider data into one location
Make data available to the GTS
Deliver data to the world!
ERDDAP Server
https://gliders.ioos.us/

## Slide 28: Summary
So much data, and all available for scientific use
Only an example of numerous datasets from partners available
Today, examples of single platform, multi-platform, Federal Government and external data QC were presented
Certified data! IOOS certifies data through QARTOD, SOPs, and confirm that external data have a QA/QC process in place.
Trust but verify!